Winter and Freeze Threats

Pre-Winter Storm Preparation:

Winter storms can be devastating, causing those affected to lose their business, inventory, property, and lives. It is wise to be as prepared as possible in the event a winter storm threatens your business.

The first step is to secure supplies. It is important to make sure emergency supplies are on hand and ready for any situation that can occur.

The emergency kit should include:

First aid kit, emergency lighting, flashlights, walkie-talkies, batteries, blankets and extra clothing, hand and power tools, whistles to signal and direct attention during and after the storm, and plastic covers

During severe cold spells, water in sprinkler system piping, domestic water systems, HVAC, or process equipment can freeze and expand causing pipes or fittings to burst. Water damage from this type of incident can be extensive, especially if the water continues to flow for an extended period. Total costs of the damage and business interruption can be substantial.

For pipes that are vulnerable to freezing, open water faucets slightly to let them drip in order to keep water flowing. Never use open flame devices to thaw frozen pipes.

During a storm evacuation you should shut down all non-critical and nonessential electrical equipment, patrol the property when safe to do so and watch for roof leaks, pipe breakage, fire, or structural damage. During a power failure, turn off electrical switches to prevent reenergizing of equipment until necessary checks are complete. Also, stay informed. Listen to local news and weather channels for situation developments and road closures.

After the storm subsides, make sure heating systems and pipes are working, close water faucets, separate damaged goods, clean roof drains and remove ice and debris. In case of power failure, check refrigerated items for spoilage. Look for safety hazards such as live wires, leaking gas, flammable liquids, toxic materials, and damage to foundations.

Winter and Freeze Threats

Pre-Winter Storm Preparation:

Winter storms can be devastating, causing those affected to lose their business, inventory, property, and lives. It is wise to be as prepared as possible in the event a winter storm threatens your business.

The first step is to secure supplies. It is important to make sure emergency supplies are on hand and ready for any situation that can occur.

The emergency kit should include:

First aid kit, emergency lighting, flashlights, walkie-talkies, batteries, blankets and extra clothing, hand and power tools, whistles to signal and direct attention during and after the storm, and plastic covers

During severe cold spells, water in sprinkler system piping, domestic water systems, HVAC, or process equipment can freeze and expand causing pipes or fittings to burst. Water damage from this type of incident can be extensive, especially if the water continues to flow for an extended period. Total costs of the damage and business interruption can be substantial.

For pipes that are vulnerable to freezing, open water faucets slightly to let them drip in order to keep water flowing. Never use open flame devices to thaw frozen pipes.

During a storm evacuation you should shut down all non-critical and nonessential electrical equipment, patrol the property when safe to do so and watch for roof leaks, pipe breakage, fire, or structural damage. During a power failure, turn off electrical switches to prevent reenergizing of equipment until necessary checks are complete. Also, stay informed. Listen to local news and weather channels for situation developments and road closures.

After the storm subsides, make sure heating systems and pipes are working, close water faucets, separate damaged goods, clean roof drains and remove ice and debris. In case of power failure, check refrigerated items for spoilage. Look for safety hazards such as live wires, leaking gas, flammable liquids, toxic materials, and damage to foundations.

Winter and Freeze Threats

Pre-Winter Storm Preparation:

Winter storms can be devastating, causing those affected to lose their business, inventory, property, and lives. It is wise to be as prepared as possible in the event a winter storm threatens your business.

The first step is to secure supplies. It is important to make sure emergency supplies are on hand and ready for any situation that can occur.

The emergency kit should include:

First aid kit, emergency lighting, flashlights, walkie-talkies, batteries, blankets and extra clothing, hand and power tools, whistles to signal and direct attention during and after the storm, and plastic covers

During severe cold spells, water in sprinkler system piping, domestic water systems, HVAC, or process equipment can freeze and expand causing pipes or fittings to burst. Water damage from this type of incident can be extensive, especially if the water continues to flow for an extended period. Total costs of the damage and business interruption can be substantial.

For pipes that are vulnerable to freezing, open water faucets slightly to let them drip in order to keep water flowing. Never use open flame devices to thaw frozen pipes.

During a storm evacuation you should shut down all non-critical and nonessential electrical equipment, patrol the property when safe to do so and watch for roof leaks, pipe breakage, fire, or structural damage. During a power failure, turn off electrical switches to prevent reenergizing of equipment until necessary checks are complete. Also, stay informed. Listen to local news and weather channels for situation developments and road closures.

After the storm subsides, make sure heating systems and pipes are working, close water faucets, separate damaged goods, clean roof drains and remove ice and debris. In case of power failure, check refrigerated items for spoilage. Look for safety hazards such as live wires, leaking gas, flammable liquids, toxic materials, and damage to foundations.

Winter and Freeze Threats Quiz

1.	The winter weather emergency kit should include: (circle all that apply)

a.	Power tools

b.	First aid kit

c.	Flashlights

d.	A box of Titleist ProV1 golf balls

2.	Securing emergency supplies is the first step when preparing for a storm.

TRUE		FALSE

3.	All of the following are true, EXCEPT:

a.  	Sprinkler system pipes are vulnerable to freezing during cold spells.

b.  	Freezing can cause piping and fittings to burst.

c. 	Always use open flame devices to thaw frozen pipes.

4.	During a storm evacuation, it is important to: (circle all that apply)

a.  	Shut down noncritical electrical equipment.

b.  	Run as fast as possible to your vehicle.

c.  	Stay informed.

d.  	Check for roof leaks.

e.    	Patrol the property when safe to do so.

5.	After the storm, potential hazards that can occur are: (circle all that apply)

a. 	Gas leaks

b.  	Broken foundation

c.  	Flying golf balls

d.     	Live wires

Print Name _________________________________

Signature __________________________________

Winter and Freeze Threats Quiz

1.	The winter weather emergency kit should include: (circle all that apply)

a.	Power tools

b.	First aid kit

c.	Flashlights

d.	A box of Titleist ProV1 golf balls

2.	Securing emergency supplies is the first step when preparing for a storm.

TRUE		FALSE

3.	All of the following are true, EXCEPT:

a.  	Sprinkler system pipes are vulnerable to freezing during cold spells.

b.  	Freezing can cause piping and fittings to burst.

c. 	Always use open flame devices to thaw frozen pipes.

4.	During a storm evacuation, it is important to: (circle all that apply)

a.  	Shut down noncritical electrical equipment.

b.  	Run as fast as possible to your vehicle.

c.  	Stay informed.

d.  	Check for roof leaks.

e.    	Patrol the property when safe to do so.

5.	After the storm, potential hazards that can occur are: (circle all that apply)

a. 	Gas leaks

b.  	Broken foundation

c.  	Flying golf balls

d.     	Live wires

Print Name _________________________________

Signature __________________________________

Winter and Freeze Threats Quiz

1.	The winter weather emergency kit should include: (circle all that apply)

a.	Power tools

b.	First aid kit

c.	Flashlights

d.	A box of Titleist ProV1 golf balls

2.	Securing emergency supplies is the first step when preparing for a storm.

TRUE		FALSE

3.	All of the following are true, EXCEPT:

a.  	Sprinkler system pipes are vulnerable to freezing during cold spells.

b.  	Freezing can cause piping and fittings to burst.

c. 	Always use open flame devices to thaw frozen pipes.

4.	During a storm evacuation, it is important to: (circle all that apply)

a.  	Shut down noncritical electrical equipment.

b.  	Run as fast as possible to your vehicle.

c.  	Stay informed.

d.  	Check for roof leaks.

e.    	Patrol the property when safe to do so.

5.	After the storm, potential hazards that can occur are: (circle all that apply)

a. 	Gas leaks

b.  	Broken foundation

c.  	Flying golf balls

d.     	Live wires

Print Name _________________________________

Signature __________________________________